## Slide 1
Advancing Cold Chain: AI-Driven Adaptive Storage
Revolutionising harvest Preservation with Smart Technology

## Slide 2
Literature Review
Prior research highlights the limitations of conventional cold storage and the emerging potential of smart technologies. Integrating AI for precise environmental control remains an underexplored frontier in postharvest systems.
Conventional Cold Storages
Bulk cooling leads to uneven airflow and localised spoilage.
IoT Monitoring
Used for monitoring, but lacks real-time actuation and dynamic response.
Gas Management
Ethylene and CO₂ accumulation are critical, but mostly managed at the chamber level, not granularly.
AI in Greenhouses
AI-based adaptive control is explored in greenhouses but largely absent in cold storage applications.
Conventional Cold Storage
Proposed Adaptive System
Sensors + AI control
Partitioned zones
Spoiled produce
Uneven airflow

## Slide 3
Research Gaps
Tray-Level Variations Ignored
Uniform cooling fails to address microclimates and specific needs at the individual tray level.
Monitoring-Only IoT
Current IoT solutions provide data but lack real-time autonomous actuation capabilities.
Chamber-Scale Gas Scrubbing
Ethylene/CO₂ management operates at the chamber level, not targeted tray-specifically.
Limited Energy Optimisation
Energy-saving methods focus on compressors rather than optimised airflow dynamics.
Absence of AI Control
No comprehensive AI-driven adaptive cooling system exists for precise tray-level control.

## Slide 4
Objectives
Our project aims to bridge these gaps by developing a sophisticated, AI-driven adaptive cold storage system for enhanced postharvest preservation.
Tray-Level Sensing
Implement precise sensing for temperature, humidity, CO₂, ethylene, and produce weight at each tray.
Adaptive Airflow Control
Develop and integrate dynamic airflow control using smart rack valves and individual tray fans.
Closed-Loop Gas Filtration
Design and integrate a closed-loop system for efficient ethylene and CO₂ removal.
Real-Time AI Decision-Making
Utilise an offline LLM for intelligent, real-time environmental adjustments.
Data Logging & Dashboards
Establish MongoDB-based logging and interactive dashboards for comprehensive monitoring and analysis.

## Slide 5
Hardware & Software Specifications
Our system leverages a robust combination of microcontrollers, sensors, and modern software frameworks to achieve intelligent cold chain management.
Hardware Components
Microcontrollers: Arduino Uno/Mega for data acquisition and control.
Sensors: DHT22 (Temp/Humid), CO₂ sensor, Ethylene sensor, Load cell + HX711 (weight).
Actuators: DC fans for localised airflow, Solenoid valves for gas management.
Power & Structure: Reliable Power supply, Custom rack + trays for modularity.
Software Stack
Backend: Python with Flask for API and logic, PySerial for Arduino communication.
Database: MongoDB for flexible, scalable data storage.
AI Agent: LangChain + Ollama for offline LLM integration and decision-making.
Visualisation: Dash/Plotly for interactive charts, HTML/CSS for responsive dashboards.
Firmware: Arduino IDE for microcontroller programming.

## Slide 6
Gantt Chart & Work Breakdown Structure
Our project follows a structured approach, from initial requirements gathering to final validation and reporting, ensuring systematic development.

## Slide 7
Requirement Analysis (SRS)
The System Requirements Specification (SRS) outlines both the functional and non-functional aspects, defining the system's capabilities and performance criteria.
Functional Requirements
Tray-level environmental sensing.
AI-driven decision-making for environmental control.
Automated actuation of fans and valves.
Real-time data logging and storage.
Interactive data visualisation and manual control.
Non-Functional Requirements
Latency: Decision-to-actuation <2s.
Scalability: Support for multiple racks/trays.
Reliability: 24/7 operation with fault tolerance.
Energy Efficiency: Optimised power consumption.
Sensors
Collect tray environmental data
Arduino
Aggregate and preprocess signals
Flask Backend
Receive and expose API endpoints
MongoDB
Store time-series and metadata
Dashboards
Visualize analytics and alerts

## Slide 8
Workflow Model
The system's workflow demonstrates a closed-loop control mechanism, from data acquisition to intelligent actuation and continuous monitoring.
AI Agent
Backend
Arduino
Sensors

## Slide 9
Module Design & Implementation
Significant progress has been made on core system modules, with the prototype demonstrating feasibility and key functionalities. Remaining work focuses on validation with real-world conditions.
Completed Modules
Rack + tray prototype assembly.
Sensor interfacing and calibration.
Serial communication established (Arduino-Python).
Flask backend for data processing and API.
MongoDB logging and data persistence.
AI agent integration (offline LLM).
Admin dashboard with manual/agent control modes.
Plotly visualisation application for data trends.
Pending Modules & Future Work
Extensive produce testing and validation.
Validation with real-world postharvest data.
Detailed energy benchmarking and optimisation.
Long-term reliability and stability testing.

## Slide 10
Conclusion & Next Steps
The prototype successfully demonstrates the feasibility of tray-level adaptive cooling, paving the way for significant advancements in postharvest technology.
Feasibility Confirmed
The prototype proves that tray-level adaptive cooling with AI integration is achievable and effective.
Expected Outcomes
Anticipated benefits include substantial energy savings, extended produce shelf life, and superior monitoring capabilities.
Real-Produce Testing
Conduct rigorous testing with various types of produce to validate performance under diverse conditions.
Scaling & Evaluation
Expand the system to larger racks and conduct comprehensive performance evaluations and benchmarking.